## Slide 1: PSC Role in Transmission Siting & Permitting: Distribution Nexus and the Utility RELIEF Act (HB1532) Transmission Modernization Workgroup
May 05, 2026

## Slide 2: Before Utility RELIEF Act: Transmission Siting and Permitting
Transmission permitting and siting in Maryland is grounded in Certificate of Public Convenience and Necessity (“CPCN”) requirements in PUA § 7-207.
  Per 7-207(a)(6) transmission CPCN is required for overhead lines greater than 69 kilovolt (“kV“)
  The PSC is required to consider the following before taking a final action on a CPCN application:
    Effect of the project on the reliability/stability of the electric system, economics, and environment of the State.
    Need to meet existing and future electric demand.
    Alternative routes evaluated.
COMAR 20.79 lists CPCN application requirements.
The existing framework evaluates need and routing but did not consistently require evaluation of distribution system constraints or non-wires alternatives as part of siting decisions.

## Slide 3: Before Utility RELIEF Act: CPCN Exemptions
PUA § 7-207(b)(4) outlines mandatory CPCN waiver requirements for certain work on existing transmission lines.
  Applies when no new Right-of-way or larger structures are required to accommodate increased voltage or larger conductors.
  If waiver conditions are satisfied, the Commission is required to grant the mandatory waiver request.
  Limited opportunity to evaluate alternatives, system-wide impacts, or cost-impacts under waiver provisions.
PUA § 7-207(b)(3) states that the Commission may waive CPCN requirements for a good cause.
This structure can limit consideration of grid optimization or distribution-level solutions as part of siting decisions.

## Slide 4: Before Utility RELIEF Act: Electric System Planning
The Commission established the Distribution System Planning (DSP) Workgroup in 2021.
Effective June 1, 2022, Maryland enacted the Climate Solutions Now Act (“CSNA”) which codified PUA § 7-801.
In 2024, the passage of HB 1393 (the Electric System Planning—Scope and Funding Act), expanded the scope of distribution system planning to electric system planning (ESP).
COMAR 20.50.15 became effective on November 10, 2025. The Electric System Planning Requirements under COMAR 20.50.15 require:
  Integrated transmission and distribution planning.
  Identification of non-wires solutions considered to address system constraints.
Role in Siting & Permitting (Distribution Nexus Support):
  Provides feeder/substation-level visibility
  Identifies localized constraints
  Supports grid-informed siting decisions
ESP provides the data needed to align project siting with actual grid capability.

## Slide 5: What is “Distribution Nexus” in Siting & Permitting
The relationship between a project’s location and the electric distribution system, which focuses on how and where projects connect to feeders, substations, and local circuits.
This includes:
  Available hosting capacity
  Existing system constraints
  Required upgrades (cost & timeline)
  Interconnection feasibility at the local level
Without considering distribution nexus:
  Higher upgrade costs
  Longer interconnection timelines
  Inefficient siting decisions
  Increased ratepayer impacts
Supported by:
  Electric System Planning (COMAR 20.50.15)
  HB 1532 (Utility RELIEF Act)
  Executive Order – Site Readiness & Grid Optimization
Bridges planning, interconnection, and siting decisions.
Enables earlier identification of grid constraints in siting decisions.

## Slide 6: After Utility RELIEF Act: New & Clarified Requirements
Clarifies CPCN Applicability.
  Now applies to both overhead and underground transmission lines
Expands the expectation for alternatives analysis in CPCN approval.
  Requires evaluation of ATTs and consideration of distribution system conditions and alternatives (distribution nexus), including whether localized constraints can be addressed through non-transmission solutions.
Encourages integration of planning, siting, and interconnection processes to improve efficiency and cost outcomes.
Updates the CPCN waiver requirements.
  Replaces mandatory waivers with discretionary waivers.
Links CPCN approval to public-interest impacts.
  Includes consideration of ratepayer impacts and system effects.
Adds a defined CPCN decision timeline for underground transmission applications.
Moves siting and permitting toward a more grid-informed, cost-conscious, and integrated planning framework.

## Slide 7: Thank you! Questions?