## Grantee Quarterly Report
Appendix A
Alternative Fuel Infrastructure Grant Program
Grantee Quarterly Operation Report
Grantee Name: |  |  |  |  | ChargePoint, Inc.
Dates Report Covers: |  |  |  |  | Q4'18 (October to December)
Report Submitted By: |  |  |  |  | John Schott
Email Address: |  |  |  |  | john.schott@chargepoint.com
Report Date: |  |  |  |  | 2019-01-25
Please provide a brief narrative on the project progress, including any challenges, that occurred during the reporting period:
ChargePoint is pleased to provide data related to the operation of MEA funded DC Fast Charging stations (DCFC) during Q4'18 - October to December. This is the first quarterly report submitted for the 10 DCFC stations funded through the Alternative Fuel Infrastructure Program. In total, the DC Fast Charging Stations installed by ChargePoint dispensed 1,589 kWh across 103 charging sessions or an average of 15 kWh per session. This level of utilization resulted in the displacement of 199 gallons of gasoline using the industry assumption of .1255 gallons saved per kWh. The average utilization time of the 50kW DCFC was 31 minutes per session, which can provide up to 200 miles of range per hour of charging (RPH) on the ChargePoint Express 200 stations. While seven of the ten stations were operational for 100% of the quarter, uptime for DC Hagerstown station #3 was 95% since it had to be replaced due to multiple component failure. The station was offline for 19 days as result and is now back up and working with no issues reported. Two stations, Cabin John station #2 and #4 are not able to report uptime as they were activated late in 2018 and did not have any charging sessions during the few days in 2018 that they were operational. ChargePoint anticipates that these station's utilization will continue to increase as knowledge of their existence proliferates and EV adoption increases in the state of Maryland.
Station Location |  |  |  |  | Quarterly Data |  |  |  |  | Cumulative Data
Station Name | Station Address | City | Zip | County | % of Time Operational | kWhs consumed | Average Charging Event Duration (mins) | # Of Gasoline Gallons Displaced | # Of Vehicles Using EVSE | kWhs consumed | # Of Gasoline Gallons Displaced
DC CORRIDOR / BOX HILL DC 1 | 3491 Merchant Boulevard | Abingdon | 21009 | Harford County | 100% | 49.671 | 24.2333 | 6.234 | 3 | 49.671 | 6.234
DC CORRIDOR / BOX HILL DC 2 | 3491 Merchant Boulevard | Abingdon | 21009 | Harford County | 100% | 306.858 | 42.8469 | 38.511 | 27 | 306.858 | 38.511
DC CORRIDOR / BOX HILL DC 3 | 3491 Merchant Boulevard | Abingdon | 21009 | Harford County | 100% | 130.311 | 48.0354 | 16.355 | 8 | 130.311 | 16.355
DC CORRIDOR / BOX HILL DC 4 | 3491 Merchant Boulevard | Abingdon | 21009 | Harford County | 100% | 128.545 | 33.9727 | 16.133 | 11 | 128.545 | 16.133
DC CORRIDOR / CABIN JOHN DC1 | 11355 Seven Locks Rd | Potomac | 20854 | Montgomery County | 100% | 39.947 | 31.9333 | 5.013 | 3 | 39.947 | 5.013
DC CORRIDOR / CABIN JOHN DC2 | 11355 Seven Locks Rd | Potomac | 20854 | Montgomery County | n/a | 0 | 0 | 0 | 0 | 0 | 0
DC CORRIDOR / CABIN JOHN DC3 | 11355 Seven Locks Rd | Potomac | 20854 | Montgomery County | 100% | 49.473 | 53.8167 | 6.209 | 2 | 49.473 | 6.209
DC CORRIDOR / CABIN JOHN DC4 | 11355 Seven Locks Rd | Potomac | 20854 | Montgomery County | n/a | 0 | 0 | 0 | 0 | 0 | 0
DC CORRIDOR / DC HAGERSTOWN 3 | 17523 Valley Mall Rd | Hagerstown | 21740 | Washington County | 95% | 676.665 | 46.7671 | 84.922 | 36 | 676.665 | 84.922
DC CORRIDOR / DC HAGERSTOWN 4 | 17523 Valley Mall Rd | Hagerstown | 21740 | Washington County | 100% | 207.675 | 29.9013 | 26.063 | 13 | 207.675 | 26.063
|  |  |  | Total |  | 1589.145 |  | 199.44 | 103 | 1589.145 | 199.44
|  |  |  | Cumulative Avg. | 98.75% | 158.9145 | 31.1507 | 19.944 | 10.3